## CC&GSG DATA (hidden)
LABEL |  | BS COST CENTER 2 | BS COST CENTER 2 | BS COST CENTER 2 | BS COST CENTER 2 | BS COST CENTER 2 |  | MECH SUBG
LIST 1 | BS COST CENTER 1 | LIST 3 | LIST 4 | LIST 5 | LIST 6 | LIST 7 | MECH GROUP | LIST 14
OFFER | LIST 2 | MAIN BUILDING | OPEN AREA STRUCTURES | DETACHED BUILDING | DESIGN | OTHER WORKS | LIST 13 | 01.RAW WATER SYSTEM | 02.SOFT WATER SYSTEM | 03.FIRE FIGHTING SYSTEM | 04.GARDEN IRRIGATION SYSTEM | 05.PIPING FROM PROCESS | 06.CO2 SYSTEM | 07.N2 SYSTEM | 08. 8 BAR AIR SYSTEM | 09.STERIL AIR SYSTEM | 10.40 BAR AIR SYSTEM | 11.STEAM SYSTEM | 12.HVAC EQUIPMENT | 13.CHILLED WATER SYSTEM | 14.COOLING TOWER SYSTEM | 15.COLD ROOM EQUIPMENT | 16.DIESEL SYSTEM | 17.NATURAL GAS SYSTEM | 18.SEWERAGE SYSTEM | 19.CAUSTIC SYSTEM | 20.STRUCTURES | 21.OTHERS
BOQ TABLE |  | LAND WORKS | BOUNDARY WALL (H:2M) | BOLIER ROOM | DESIGN | REINSTALLATION |  | 01.01.DEEP WEEL STATION, PUMP & ACCESORIES | 02.01.SOFT WATER UNIT & ACCESORIES | 03.01.PUMP STATION & ACCESORIES | 04.01.PUMP STATION & ACCESSORIES | 05.01.PIPE & ACCESORIES (TREATED WATER) | 06.01.CO2 EVAPORATOR (ONLY INSTALLATION) | 07.01.N2 TANK & ACCESORIES | 08.01.COMPRESSOR & DRIER (ONLY INSTALLATION) | 09.01.STERIL AIR FILTERS (ONLY INSTALLATION) | 10.01.COMPRESSOR & DRIER (ONLY INSTALLATION) | 11.01.BOILLER UNIT (ONLY INSTALATION) | 12.01.CHILLERS & ACCESORIES | 13.01.CHILLER, ITS EVAPORATIVE CONDENSER & ACCESORIES | 14.01.COOLING TOWER & ACCESORIES | 15.01.CHILLERS & ACCESORIES | 16.01.FUEL OIL TANK & ACCESORIES (MAIN) | 17.01.COUNTERS & ACCESSORIES | 18.01.PIPES & ACCESSORIES (TO WASTE WATER SYSTEM) | 19.01.CLEAN COSTIC TANKS & ACCESSORIES | 20.01.PLATFORM | 21.01.CRANE FOR 40 BAR COMPRESSORS
|  | BUILDING GENERAL | COOLING TOWERS | HCL TANK AREA |  | SYRUP ROOM for HF LINES |  | 01.02.RIVER PUMP STATION EQUIPMENT & ACCESORIES | 02.02.SOFT WATER HYDROPHOR & ACCESORIES | 03.02.PIPES & ACCESORIES (FIRE FIGHTING) | 04.02.PIPE& ACCESORIES | 05.02.PIPE & ACCESORIES (SYRUP) | 06.02.CO2 FILTERS (ONLY INSTALLATION) | 07.02.PHASE SEPARATORS & ACCESORIES | 08.02.COLLECTOR & ACCESORIES | 09.02.PIPING & ACCESORIES | 10.02.COLLECTOR & ACCESORIES | 11.02.COLLECTORS & ACCESSORIES (STEAM AND CONDANSATE) | 12.02.AHU, RTU UNITS & ACCESORIES | 13.02.CHILLED WATER TANK & ACCESORIES | 14.02.PUMPS & ACCESORIES (COOLING TOWER WATER) | 15.02.COOLING APPARATUS AND ACCESORIES | 16.02.FUEL OIL TANK & ACCESORIES (DAILY) | 17.02.PIPING & ACCESSORIES | 18.02.PIPES & ACCESSORIES (TO RAIN WATER SYSTEM) | 19.02.PUMPS & ACCESSORIES (COSTIC) | 20.02.OTHER MATERIALS AND SERVICES | 21.02.OTHER MATERIALS AND SERVICES
|  | HP + LP COMPRESSORS | CONDENSERS | GATE HOUSE AND ADDITIONAL DOORS (must for PK) |  | INFRA UPGRADE FOR PRODUCTION |  | 01.03.PIPING & ACCESORIES (FROM WATER SOURCE TO TANK) | 02.03.PIPING & ACCESORIES | 03.03.PIPES & ACCESORIES (SPRINKLERS) | 04.03.OTHER MATERIALS AND SERVICES | 05.03.PIPE & ACCESORIES (CIP) | 06.03.COLLECTOR & ACCESORIES | 07.03.PIPING, INSULATION & ACCESORIES | 08.03.PIPING & ACCESORIES | 09.03.OTHER MATERIALS AND SERVICES | 10.03.PIPING & ACCESORIES | 11.03.PIPING, INSULATION & ACCESORIES | 12.03.HEAT EXCHANGERS & ACCESORIES (FRESH AIR .EGZOUST AIR) | 13.03.PUMPS & ACCESORIES (CHILLED WATER) | 14.03.PIPING, INSULATION & ACCESORIES | 15.03.OTHER MATERIALS AND SERVICES | 16.03.FUEL OIL TANK & ACCESORIES (HEATING) | 17.03.OTHER MATERIALS AND SERVICES | 18.03.PUMPS & ACCESSORIES | 19.03.PIPES & ACCESSORIES
|  | CHILLER | RAW WATER STORAGE TANK FOUNDATION | DRIVER WC |  | DEMOLITION WORKS |  | 01.04.WATER STORAGE TANK (METALIC) | 02.04.OTHER MATERIALS AND SERVICES | 03.04.SPRINKLERS & ACCESORIES |  | 05.04.OTHER MATERIALS AND SERVICES | 06.04.PIPING, INSULATION & ACCESORIES | 07.04.OTHER MATERIALS AND SERVICES | 08.04.OTHER MATERIALS AND SERVICES |  | 10.04.OTHER MATERIALS AND SERVICES | 11.04.OTHER MATERIALS AND SERVICES | 12.04.HEAT EXCHANGERS & ACCESORIES (STEAM .WATER) | 13.04.PIPING, INSULATION & ACCESORIES | 14.04.OTHER MATERIALS AND SERVICES |  | 16.04.PUMPS & ACCESSORIES (FUEL OIL) |  | 18.04.OTHER MATERIALS AND SERVICES | 19.04.OTHER MATERIALS AND SERVICES
|  | HV-LV SWITCH GEAR | RAW WATER STORAGE TANK | CRC BLD. |  | OUTSIDE INFRASTRUCTURE |  | 01.05.WATER STORAGE TANK ACCESORIES (METALIC OR CONCRETE) |  | 03.05.FIRE CABINETS & ACCESORIES |  |  | 06.05.OTHER MATERIALS AND SERVICES | [5 empty] | 12.05.FAN COIL SYSTEMS & ACCESORIES | 13.05.OTHER MATERIALS AND SERVICES |  |  | 16.05.PIPES AND ACCESORIES (FUEL OIL)
|  | TRANSFORMER | CAUSTIC TANK | SALES BLD. |  |  |  | 01.06.COLLECTOR & ACCESORIES |  | 03.06.ARGON GAS SYSTEM & ACCESORIES | [8 empty] | 12.06.HEATING APARATUS & ACCESORIES |  |  |  | 16.06.OTHER MATERIALS AND SERVICES
|  | BOILER | RE-USE CAUSTIC TANK | ADMIN BLD. |  |  |  | 01.07.PIPING & ACCESORIES (FEED TO W.TREATMENT) |  | 03.07.OTHER MATERIALS AND SERVICES | [8 empty] | 12.07.EXHAUST FANS & ACCESORIES (ROOF)
|  | HYDROPHOR & FIRE PUMPS | POWER GENERATOR | GARAGE BLD. (FORKLIFT REP., Battery Charge) |  |  |  | 01.08.PIPING & ACCESORIES (FEED TO OTHERS) | [10 empty] | 12.08.EXHAUST FANS & ACCESORIES (OTHERS)
|  | RESTROOMS | GRID STATION | WASTE MATERIAL BLD |  |  |  | 01.09.PUMPS, HYDROPHORS & ACCESORIES (FEED TO W.TREATMENT) | [10 empty] | 12.09.FANS AND FILTERS & ACCESORIES (FRESH AIR INFEED)
|  | SYRUP ROOM & CIP | LOADING/UNLOADING AREA | SEDIMENTATION BLD. |  |  |  | 01.10.PUMPS, HYDROPHORS & ACCESORIES (FEED TO OTHERS) | [10 empty] | 12.10.AIR CONDITIONERS & ACCESORIES (SPLIT)
|  | WATER TREATMENT | ROADS | LN2 BLD. |  |  |  | 01.11.EMERGENCY SHOWERS & ACCESORIES | [10 empty] | 12.11.AIR CURTAINS & ACCESORIES
|  | MECH & ELEC WORKSHOP | SECURITY BUILDING AND GATE | WELL BUILDINGS |  |  |  | 01.12.OTHER MATERIALS AND SERVICES | [10 empty] | 12.12.AIR DUCTS & ACCESORIES
|  | PEM/POM | TRUCK PARKING AREA | [15 empty] | 12.13.PIPING (HEATING WATER), PUMPS AND ACCESORIES
|  | LAB & MICRO LAB | CAR PARKING AREA | [15 empty] | 12.14.CO2 EGZOST SYSTEM & ACCESORIES
|  | OFFICES | CONNECTION ROAD | [15 empty] | 12.15.OTHER MATERIALS AND SERVICES
|  | SAMPLE ROOM | CRATE STORAGE
|  | CORRIDORS | DIESEL STORAGE TANK
|  | SPARE PARTS | HVAC PLATFORM
|  | CHEMICAL STORAGE | CO2 TANKS
|  | COLD ROOM(+4) & DRY PARTS | PET BLOWER TOWER
|  | ARCHIVE | 40 BAR TOWER
|  | KITCHEN | POWER RECEPTION BLD |  |  |  |  | CIVIL SUBG
|  | SUGAR WH | FIRE PUMP BLD
|  | PREFORM WH | TANK AREA (crushed stone and green area) |  |  |  | CIVIL GROUP | 01.DESIGN | 02.EARTH WORKS | 03.FOUNDATIONS | 04.INFRA | 05.BUILDING ENVELOPE | 06.SOG CONCRETE | 07.PARTITIONS & WALLS | 08.WALL FINISHES | 09.FLOOR | 10.CEILING | 11.DOOR/WINDOW | 12.INDUSTRIAL DOORS | 13.MEZZ SLAB | 14.MISC STEEL | 15.ELEC INFRA | 16.MECH INFRA | 17.OTHERS
|  | RESIN WH | OFFSET and SLOPE AREA |  |  |  | LIST | 01.01.DESIGN | 02.01.BACKFILLING/FILLING | 03.01.EARTH WORKS | 04.01.BACKFILLING/FILLING | 05.01.FACADE CLADDING | 06.01.SLAB-15CM | 07.01.COMPACT LAMINATED SEP | 08.01.A-ACID CERAMIC | 09.01.A-ACID CERAMIC | 10.01.CEMENTBOARD EPOXY PAINT | 11.01.EXTERIOR ALU DOORS | 12.01.COLD ROOM DOOR | 13.01.SHEET,EDGE PLTS,STUDS | 14.01.BLACK STEEL PIPE BRDG | 15.01.BACKFILLING/FILLING | 16.01.BACKFILLING/FILLING | 17.01.COLDROOMS +4C
|  | LABELS, CLOSURES, CARTONS, INK, SHRINK WH | EXTERNAL SITE INFRASTR | [5 empty] | 02.02.DEMOLITION WORKS | 03.02.ANCHOR BOLTS | 04.02.COVERS/GRATINGS | 05.02.GUTTERS AND DOWNSPOUTS | 06.02.SLAB-20CM | 07.02.PANELS | 08.02.CERAMIC | 09.02.CARPET | 10.02.METAL CEILING | 11.02.EXTERIOR ALU WINDOWS | 12.02.FIRE EXIT | 13.02.STRUCTURAL STEEL | 14.02.BUMPERS | 15.02.DISCHARGE PUMP POWER | 16.02.DISCHARGE PUMP | 17.02.HEAT INSULATION
|  | PRODUCTION AREA | WEIGHT BRIDGE | [5 empty] | 02.03.EXCAVATION | 03.03.CONCRETE WORKS | 04.03.EXCAVATION | 05.03.PAINT WORKS | 06.03.SLAB-25CM | 07.03.STEEL STRUCTURE | 08.03.EPOXY COATING | 09.03.CERAMIC | 10.03.MODULAR GYPSUMBOARD | 11.03.INTERIOR ALU DOORS | 12.03.HIGH SPEED PVC | 13.03.SOG | 14.03.CEILING STEEL FRAMES | 15.03.EXCAVATION | 16.03.EXCAVATION | 17.03.MOTORIZED SLIDING GATE DOORS
|  | FULL GOODS WH | WWTP | [5 empty] | 02.04.STR FILL UNDER SOG | 03.04.FORMWORKS | 04.04.GREASE SEPERATOR | 05.04.RAILINGS OR LIFELINE |  | 07.04.BLOCK WALL | 08.04.EPOXY PAINTING | 09.04.CORUNDUM SURFACE HARDENER | 10.04. ROCKWOOL CEILING | 11.04.INTERIOR ALU WINDOWS | 12.04.INDUSTRIAL |  | 14.04COLDROOM STEEL FRAMES | 15.04.LIGHTING POLES FOUND | 16.04.FIRE CABINET FOUND | 17.04.PERSONAL DOOR AND TURNSTILE
|  | (-18) Cold Room | LOADING CANOPY | [5 empty] | 02.05.STRUCTURAL FILL | 03.05.GROUTING | 04.05.MANHOLE COVERS | 05.05.ROOF CLADDING |  | 07.05.CONCRETE WALL | 08.05.PAINTING OF BLOCKS | 09.05.EPOXY COATING | 10.05.VINLY SUSPENDED CEILING | 11.05.LOUVERS/LOUVER DOORS | 12.05.ROLL UP |  | 14.05.RAISED FLOOR STRUCTURE | 15.05.MANHOLE COVERS | 16.05.MANHOLE COVERS | 17.05.ROAD&PARKING LINES
|  | MEZZAINE FLOOR | SHED WH | [6 empty] | 03.06.PIPE BRIDGE FOUNDATION | 04.06.MANHOLES | 05.06.SKYLIGHT PROTECTION |  | 07.06.EXTRERIOR BLOCK WALLS | 08.06.PAINTING OF OFFICES | 09.06.PVC |  | 11.06.PVC DOORS |  |  | 14.06.SS PIPE BRDG | 15.06.MANHOLES | 16.06.MANHOLES | 17.06.TERRACE ROOF INSULATION
|  | PIPE BRIDGE (INSIDE) | RAILWAY CONNECTION | [6 empty] | 03.07.REINFORCEMENT BAR | 04.07.MANHOLES GRATINGS | 05.07.SKYLIGHTS |  | 07.07.FACADE CLADDING | 08.07.PAINTS | 09.07.UCRETE (POLYURETHANE) |  |  |  |  | 14.07.STAIRS | 15.07.SAND BEDDING | 16.07.SAND BEDDING | 17.07.WEIGHBRIDGE
|  |  | RAILWAY DOCKING | [6 empty] | 03.08.INSULATION | 04.08.OIL SEPERATOR | 05.08.STEEL STRUCTURE |  | 07.08.FENCE & RAZOR | 08.08.PLASTER AND PAINTINGS | 09.08.RAISED FLOOR |  |  |  |  | 14.08.PLATFORMS |  |  | 17.08.FLAG POLES
|  |  | NITROGEN TANK | [7 empty] | 04.09.PIPINGS |  |  | 07.09.FENCE DOORS |  | 09.09.CURBSTONE | [7 empty] | 17.09.REINSTALLATION AND REMOVAL
|  |  | PIPE BRIDGE (OUTSIDE) | [7 empty] | 04.10.PUMPING STATION |  |  | 07.10.FORMWORKS |  | 09.10.GRAVEL FINISHES | [7 empty] | 17.10.OTHER ITEMS
[11 empty] | 04.11.RAINWATER RCC OIL SEP |  |  | 07.11.GYPSUMBOARD COVERING |  | 09.11.OPENCHANNEL
[11 empty] | 04.12.RCC CHANNEL GRATINGS |  |  | 07.12.INTERIOR BLOCK WALS |  | 09.12.ROAD AND SITE SOG
[11 empty] | 04.13.RCC CHANNELS |  |  | 07.13.PLINTH WALL |  | 09.13.SITE PEDESTRIAN WALKWAYS
[11 empty] | 04.14.STAINLESS STEEL CHANNELS |  |  | 07.14.PRECAST STRUCTURE |  | 09.14.SOIL FINISHES
[11 empty] | 04.15.STAINLESS STEEL GRATINGS |  |  | 07.15.WALLS |  | 09.15.PEDESTRIAN WALKWAYS (INSIDE)
09.16.ASPHALT
|  | MU COST CENTER 2 | MU COST CENTER 2 | MU COST CENTER 2 | MU COST CENTER 2
| MU COST CENTER 1 | LIST 9 | LIST 10 | LIST 11 | LIST 12 |  |  | ELEC SUBG
| LIST 8 | FILLING LINE MACH | SYRUP PROCESS MACH | WATER TREATMENT MACH | UTILITY AND OTHER MACH
|  | PET LINE 1000 ML 36.000 - 48.000 BPH | COMPLETE CSD SYRUP SYSTEM + CIP SYSTEM | COMPLETE WATER TREATMENT | HP AIR COMPRESSOR APROX. 2.000 M3/H |  | ELEC GROUP | 01.OUTSIDE MEDIUM VOLTAGE LINE | 02.MEDIUM VOLTAGE SYSTEM | 03.STABILIZATOR SYSTEM | 04.GENERATOR SYSTEM | 05.LOW VOLTAGE SYSTEM | 06.PROTECTION SYSTEMS | 07.WEAK CURRENT SYSTEMS
|  | PET LINE 1000 ML 20.000-35.000 BPH | SINGLE ADDITIONAL MIXING TANKS | SINGLE SOFTENER SYSTEM | HP AIR COMPRESSOR APROX. 1.000 M3/H |  | LIST | 01.01.CABLE & ACCESSORIES | 02.01.MV DISTRIBUTION BOARD & ACCESSORIES | 03.01.MV REGULATOR & ACCESSORIES | 04.01.SYNCHRONIZATION BOARD & ACCESSORIES | 05.01.LV DISTRIBUTION BOARD & ACCESSORIES | 06.01.EARTHING SYSTEM CABLES, EQUIPMENTS & ACCESSORIES | 07.01.UPS DEVICE EQUIPMENTS, CABLES & ACCESSORIES
|  | PET LINE 1000 ML 12.000-19.000 BPH | SINGLE ADDITIONAL CIP SYSTEM | SINGLE OZON UNIT + STILL WATER FILTERS | OIL FREE LP AIR COMPRESSOR - 110 KW |  |  | 01.02.OTHER MATERIALS AND SERVICES | 02.02.MV CABLES, CABLE TRAYS & ACCESSORIES | 03.02.LV REGULATOR & ACCESSORIES | 04.02.CABLES & ACCESSORIES | 05.02.LV CABLE & ACCESSORIES (DISTRIBUTION BOARD) | 06.02.LIGHTING PROTECTION CABLES, EQUIPMENTS & ACCESSORIES | 07.02.FIRE ALARM SYSTEM EQUIPMENTS CABLES & ACCESSORIES
|  | CAN LINE 330 ML 60.000 -96.000 cph | SINGLE ADDITIONAL CIP LOOP | SINGLE RO+TANK FOR STILL WATER | OIL FREE LP AIR COMPRESSOR - 55 KW |  |  |  | 02.03.TRANSFORMER & ACCESSORIES | 03.03.OTHER MATERIALS AND SERVICES | 04.03.OTHER MATERIALS AND SERVICES | 05.03.LV CABLE & ACCESSORIES(MACHINERY SUPPLY) | 06.03.OTHER MATERIALS AND SERVICES | 07.03.PUBLIC ANNOUNCE SYSTEM EQUIPMENTS CABLES & ACCESSORIES
|  | CAN LINE 330 ML 24.000-59.000 cph | COMPLETE HF SYRUP SYSTEM |  | AMONIA - FREON CHILLING UNITS |  |  |  | 02.04.OTHER MATERIALS AND SERVICES |  |  | 05.04.LV CABLE & ACCESSORIES (LIGHTING) |  | 07.04.PHONE & DATA SYSTEM EQUIPMENTS CABLES & ACCESSORIES
|  | RGB LINE 250 ML More Than 50.000 bph |  |  | CO2 TANK - 100M3 (AISI / VACUUM) | [6 empty] | 05.05.LV CABLE & ACCESSORIES (SOCKETS) |  | 07.05.CARD ACCESS SYSTEM EQUIPMENTS CABLES & ACCESSORIES
|  | RGB LINE 250 ML Upto 50.000 bph |  |  | SINGLE CHILLED WATER PUMP SYSTEM | [6 empty] | 05.06.LV CABLE & ACCESSORIES (OTHERS) |  | 07.06.CCTV SYSTEM EQUIPMENTS CABLES & ACCESSORIES
|  | OWG LINE 48.000 BPH 250ML |  |  | CO2 EVAPORATOR 1.500 KG/H | [6 empty] | 05.07.LIGHTING EQUIPMENTS & ACCESSORIES |  | 07.07.GAS EXTINGUISHING SYSTEM EQUIPMENTS CABLES & ACCESSORIES
|  | HF PET LINE AND PROCESS - 1 L : 22.400 bph |  |  | CO2 ANALYSER FOR SELF MANUFACTURING | [6 empty] | 05.08.SOCKET EQUIPMENTS & ACCESSORIES |  | 07.08.OTHER MATERIALS AND SERVICES
|  | HF GLASS LINE & HF PROCESS 250 ml 24000 bph |  |  | CO2 FILTRATION AND PRESSURE REGULATOR | [6 empty] | 05.09.LV CABLE TRAYS, PIPES & ACCESSORIES
|  | 5L WATER LINE 2.000 BPH |  |  | CO2 PLANT 500 KG/H | [6 empty] | 05.10.OTHER MATERIALS AND SERVICES
|  | TETRA PAK LINE 24.000 BPH 200ML |  |  | CO2 PLANT 1.500 KG/H
|  | CAF LINE 32.000 BPH 500ML |  |  | CO2 ANALYSER FOR SELF MANUFACTURING
|  | ASSP PET LINE |  |  | LIQUID N2 MANUFACTURING PLANT
|  | SINGLE PET BLOWER + FILLER BLOCK |  |  | N2 STORAGE TANK
|  | SINGLE PET BLOWER Up to 18 Cavity |  |  | COMPLETE WWTP PLANT APROX . 750 m3/day
|  | SINGLE PET BLOWER More Than 18 Cavity |  |  | WWTP EXTENTION - 250 M3/DAY
|  | SINGLE FILLER |  |  | PREFORM INJECTION 96 CAV.
|  | SINGLE LABELLER |  |  | BOILER 8T/H
|  | SINGLE SHRINK PACKER |  |  | SOLAR POWER
|  | SINGLE PALETIZER |  |  | OTHERS
SINGLE BOTTLE WASHER
POST-MIX FILLER
PRE-MIX

## TOTAL
CCI Bishkek Conferance hall - Kafeteria and kitchen BOQ
Project: | Cafeteria and Conferance Hall Design and Built Project
Tenderer
Date | 2025-06-13
Construciion
Electrical
Mechanical
| TOTAL | 0
Not:

## CIVILtotal
BOQ TABLE
PROJ. NAME
PREPARED BY
DATE | 2025-06-13
MATERIALS AND SERVICES | [5 empty] | DIRECT | [9 empty] | INDIRECT |  | GRAND TOTAL
02.EARTH WORKS
GROUP | SUB GROUP | ITEMS | EXPLANATIONS Brand, Supply Country, Sub Contractor, etc. | UNIT | QTY | MATERIAL UNIT PRICE (USD/UNIT) | MATERIAL ITEM PRICE (USD) | CONSUMABLES UNIT PRICE (USD/UNIT) | CONSUMABLES ITEM PRICE (USD) | TRANSPORT UNIT PRICE (USD/UNIT) | TRANSPORT ITEM PRICE (USD) | LABOUR UNIT PRICE (USD/UNIT) | LABOUR ITEM PRICE (USD) | DIRECT TOTAL UNIT PRICE (USD/UNIT) | DIRECT TOTAL ITEM PRICE (USD) | INDIRECT UNIT PRICE (USD/UNIT) | INDIRECT ITEM PRICE (USD) | UNIT PRICE (USD/UNIT) | ITEM PRICE (USD)
01.DESIGN
04. infrastructure | 04.05.MANHOLE COVERS | Spherocast Iron cover for Φ1000 Manholes | Epoxy Painting after Installation is included int | each | 4
04. infrastructure | 04.06.MANHOLES | Contrete Manholes | Precast Exterior Manholes 40x60 including reinforcement and formwork, excavation ınt | each | 4
04. infrastructure | 04.09.PIPINGS | Black Corrugated Pipe | Black Corrugated Pipe Q300 For Exterior Infrastructure | m | 70
04. infrastructure | 04.14.STAINLESS STEEL CHANNELS | STAİNLES STEEL | kitchen | m | 30
05.BUILDING ENVELOPE | 05.01.FACADE CLADDING | Facade works | For new windows | ea | 1
05.BUILDING ENVELOPE | 05.01.FACADE CLADDING | Acceseries | İnterior and exterior Cafeteria | mt | 256
08.WALL FINISHES | 08.02.CERAMIC | Ceramic with cement base grout wall+floor | inside the kitchen area wall and floor | m2 | 950
08.WALL FINISHES | 08.08.PLASTER AND PAINTINGS | Painting of fair faced blocks at exterior / inter walls | İncludes new window repair area | m2 | 700
08.WALL FINISHES | 08.08.PLASTER AND PAINTINGS | gypsyumboard | green gympsyum | m2 | 216
17.OTHERS | Floor | Floor self levelling |  | m2 | 400
| Floor | PVC FLOOR COVERİNG |  | M2 | 400
17.OTHERS | 17.09.REINSTALLATION AND REMOVAL | wall demolishment |  | m2 | 500
| 17.09.REINSTALLATION AND REMOVAL | exterior enterance revision |  | ea | 1
17.OTHERS | 17.09.REINSTALLATION AND REMOVAL | suspended ceiling demolishment in kitchen | kitchen | m2 | 300
17.OTHERS | Decorative | decorative wall panels | Cafeteria | m2 | 200
17.OTHERS | Decorative | Suspended celiling - ALL | Cafeteria | m2 | 500
17.OTHERS | Decorative | steel profile 50X50X2MM for Suspended ceiling and general | Cafeteria | tn | 10
17.OTHERS | Decorative | Entrence Doors | alm doors with windoe | ea | 3
17.OTHERS | Decorative | Dekorative wall painting works | Cafeteria | ea | 1
17.OTHERS | others | Kitchen doors | kitchen | ea | 12
17.OTHERS | others | complate kitchen equipments and stainles steel tables | kitchen | ea | 1
17.OTHERS | others | Tables 80x80 | Cafeteria | pcs | 42
17.OTHERS | others | Chairs | Cafeteria | pcs | 168
17.OTHERS | others | Enrence hall decorative items | Cafeteria | pcs | 1
17.OTHERS | others
TOTAL - USD | [6 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PERCENTAGES - % | [6 empty] | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
HIDE ZERO ROWS
UNHIDE ROWS

## BS ELEC
BOQ TABLE
PROJ. NAME | BISHKEK DINING HALL
PREPARED BY
DATE | 2025-06-13
MATERIALS AND SERVICES | [5 empty] | COST CENTERS |  | DIRECT | [9 empty] | INDIRECT |  | GRAND TOTAL
GROUP | SUB GROUP | ITEMS | EXPLANATIONS Brand, Supply Country, Sub Contractor, etc. | UNIT | QTY | COST CENTER 1 | COST CENTER 2 | MATERIAL UNIT PRICE (USD/UNIT) | MATERIAL ITEM PRICE (USD) | CONSUMABLES UNIT PRICE (USD/UNIT) | CONSUMABLES ITEM PRICE (USD) | TRANSPORT UNIT PRICE (USD/UNIT) | TRANSPORT ITEM PRICE (USD) | LABOUR UNIT PRICE (USD/UNIT) | LABOUR ITEM PRICE (USD) | DIRECT TOTAL UNIT PRICE (USD/UNIT) | DIRECT TOTAL ITEM PRICE (USD) | INDIRECT UNIT PRICE (USD/UNIT) | INDIRECT ITEM PRICE (USD) | UNIT PRICE (USD/UNIT) | ITEM PRICE (USD)
01.OUTSIDE LOW VOLTAGE LINE
01.OUTSIDE LOW VOLTAGE LINE | 01.01.CABLE & ACCESSORIES
01.OUTSIDE LOW VOLTAGE LINE | 01.01.CABLE & ACCESSORIES
01.OUTSIDE LOW VOLTAGE LINE | 01.01.CABLE & ACCESSORIES
01.OUTSIDE LOW VOLTAGE LINE | 01.02.OTHER MATERIALS AND SERVICES
02.MEDIUM VOLTAGE SYSTEM
02.MEDIUM VOLTAGE SYSTEM | 02.01.MV DISTRIBUTION BOARD & ACCESSORIES
02.MEDIUM VOLTAGE SYSTEM | 02.02.MV CABLES, CABLE TRAYS & ACCESSORIES
02.MEDIUM VOLTAGE SYSTEM | 02.03.TRANSFORMER & ACCESSORIES
02.MEDIUM VOLTAGE SYSTEM | 02.04.OTHER MATERIALS AND SERVICES
03.STABILIZATOR SYSTEM
03.STABILIZATOR SYSTEM | 03.01.MV REGULATOR & ACCESSORIES
03.STABILIZATOR SYSTEM | 03.02.LV REGULATOR & ACCESSORIES
03.STABILIZATOR SYSTEM | 03.03.OTHER MATERIALS AND SERVICES
04.GENERATOR SYSTEM
04.GENERATOR SYSTEM | 04.01.SYNCHRONIZATION BOARD & ACCESSORIES
04.GENERATOR SYSTEM | 04.02.CABLES & ACCESSORIES
04.GENERATOR SYSTEM | 04.03.OTHER MATERIALS AND SERVICES
05.LOW VOLTAGE SYSTEM
05.LOW VOLTAGE SYSTEM | 05.01.LV DISTRIBUTION BOARD & ACCESSORIES
#REF! | #REF! | DB-Kitchen | ABB | pcs | 1 | MAIN BUILDING | BUILDING GENERAL
#REF! | 05.02.LV CABLE & ACCESSORIES (DISTRIBUTION BOARD)
#REF! | #REF! | 1x150 mm² N2XH (DB-Kitchen (ШР)) | Prysmian | Mt | 580 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 1x70 mm² N2XH (DB-Kitchen (ШР)) | Prysmian | Mt | 220 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 1x70 mm² H07Z-K (DB-Kitchen (ШР)) | Prysmian | Mt | 220 | MAIN BUILDING | BUILDING GENERAL
#REF! | 05.03.LV CABLE & ACCESSORIES(MACHINERY SUPPLY)
#REF! | #REF! | 5x25 mm² N2XH | Prysmian | Mt | 112 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 5x16 mm² N2XH | Prysmian | Mt | 185 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 5x6 mm² N2XH | Prysmian | Mt | 225 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 4x2.5 mm² N2XH-J | Prysmian | Mt | 175 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 4x4 mm² N2XH-J | Prysmian | Mt | 66 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 3x2.5 mm² NHXMH | Prysmian | Mt | 400 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 8x1 LIHCH | Prysmian | Mt | 200 | MAIN BUILDING | BUILDING GENERAL
#REF! | 05.04.LV CABLE & ACCESSORIES (LIGHTING)
#REF! | #REF! | 3x2.5 mm² NHXMH | Prysmian | Mt | 610 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 3x1.5 mm² NHXMH | Prysmian | Mt | 990 | MAIN BUILDING | BUILDING GENERAL
#REF! | 05.05.LV CABLE & ACCESSORIES (SOCKETS)
#REF! | #REF! | 5x10 mm² N2XH | Prysmian | Mt | 112 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 5x6 mm² N2XH | Prysmian | Mt | 112 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 5x4 mm² N2XH-J | Prysmian | Mt | 85 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 5x2.5 mm² NHXMH | Prysmian | Mt | 98 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 3x6 mm² NHXMH | Prysmian | Mt | 58 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 3x4 mm² NHXMH | Prysmian | Mt | 170 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 3x2.5 mm² NHXMH | Prysmian | Mt | 1785 | MAIN BUILDING | BUILDING GENERAL
#REF! | 05.06.LV CABLE & ACCESSORIES (OTHERS)
#REF! | 05.07.LIGHTING EQUIPMENTS & ACCESSORIES
#REF! | #REF! | INTERNAL LIGHTING
#REF! | #REF! | LICALUX, LINE L 40W LED, 4400lm, 4000K, ALÜMİNYUM GÖVDE, OPAL DİFÜZÖRLÜ, SARKIT LINEAR ARMATÜR, ON-OFF DRIVER, IP40 [ L:1200mm, W:85mm, H:85mm ] [ OSRAM-SAMSUNG-TRIDONIC LED&DRIVER ] | Licalux | EA | 24 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | LICALUX, RECT, 45W LED, 4950lm, 4000K, ELEKTROSTATİK TOZ BOYALI SAC GÖVDE, OPAL DİFÜZÖRLÜ, SARKIT DEKORATİF ARMATÜR, ON-OFF DRIVER, IP40 [ L:800mm, W:800mm, H:100mm ] [ OSRAM-SAMSUNG-TRIDONIC LED&DRIVER | Licalux | EA | 6 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | LICALUX, TOUCH R 33W LED, 3600lm , 4000K, ALÜMİNYUM GÖVDE, OPAL DİFÜZÖRLÜ, PETEK TAVAN İÇİ PANEL ARMATÜR, ON-OFF DRIVER, IP44 [ L: 600mm, W:600mm H:40mm ] [ OSRAM-SAMSUNG-TRIDONIC LED&DRIVER ] | Licalux | EA | 20 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | LICALUX, TOUCH R 33W LED, 3600lm , 4000K, ALÜMİNYUM GÖVDE, OPAL DİFÜZÖRLÜ, PETEK TAVAN İÇİ PANEL ARMATÜR, ON-OFF DRIVER, IP44 [ L: 600mm, W:600mm H:40mm ] [ OSRAM-SAMSUNG-TRIDONIC LED&DRIVER ] [ 3 SAAT STANDART ACİL DURUM KİTLİ ] | Licalux | EA | 4 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Dekoratif Sarkıt | Licalux | EA | 5 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | LICALUX, ZERO, 14W LED, 1760lm, 4000K, ALÜMİNYUM GÖVDE, OPAL DİFÜZÖRLÜ, SIVA ALTI DOWNLIGHT ARMATÜR, ON-OFF DRIVER, IP40 [ Ø:150mm, H:55mm ] [ OSRAM-SAMSUNG-TRIDONIC LED&DRIVER ] | Licalux | EA | 14 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | DAMP-PROOF, 40W LED, 4000K, 5200lm, ALÜMİNYUM EKSTRÜZYON SAC SOĞUTUCULU , POLİKARBON GÖVDE, PC DİFÜZÖRLÜ, SIVA ÜSTÜ ETANJ ARMATÜR, ON-OFF DRIVER, IP65, IK08 [ L:1260mm, W:55mm, H:50mm ] [ OSRAM-SAMSUNG-TRIDONIC LED&DRIVER ] | Licalux | EA | 35 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | DAMP-PROOF, 40W LED, 4000K, 5200lm, ALÜMİNYUM EKSTRÜZYON SAC SOĞUTUCULU , POLİKARBON GÖVDE, PC DİFÜZÖRLÜ, SIVA ÜSTÜ ETANJ ARMATÜR, ON-OFF DRIVER, IP65, IK08 [ L:1260mm, W:55mm, H:50mm ] [ OSRAM-SAMSUNG-TRIDONIC LED&DRIVER ] STANDART 3 SAAT ACİL DURUM KİTLİ | Licalux | EA | 13 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | ROUND-S, 25W LED, 2900lm, 6500K, METAL GÖVDE, BEYAZ CAM DİFÜZÖRLÜ, SIVA ÜSTÜ AYDINLATMA ARMATÜRÜ, ON-OFF DRIVER, IP65 [ Ø: 280mm, H:80mm ] [ OSRAM&SAMSUNG&TRIDONIC LED-DRIVER ] | Licalux | EA | 15 | MAIN BUILDING | BUILDING GENERAL
#REF! |  | SWITCHES & ACCESSORIES
#REF! | #REF! | One way one gang switch | Viko | EA | 16 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Two way two gang switch | Viko | EA | 11 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Moution Dedector | IEK | EA | 4 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Junction box 10x10 (for Switches) | KSC | EA | 27 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Junction box 10x10 | KSC | EA | 85 | MAIN BUILDING | BUILDING GENERAL
#REF! | 05.08.SOCKET EQUIPMENTS & ACCESSORIES
#REF! | #REF! | Earthed socket 220V. | Viko | EA | 69 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Earthed socket 380V. | Viko | EA | 5 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Junction box (for Socket) | KSC | EA | 69 | MAIN BUILDING | BUILDING GENERAL
#REF! | 05.09.LV CABLE TRAYS, PIPES & ACCESSORIES
#REF! | #REF! | Pre-Galvanized Cable Tray 200mmx40mm |  | MT | 400 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Pre-Galvanized Cable Tray 200mmx40mm with cover |  | MT | 100 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Pre-Galvanized Cable Tray 100mmx40mm |  | MT | 120 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Pre-Galvanized Cable Tray 100mmx40mm with cover |  | MT | 60 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 20mm dia Rigid Conduits with accessories |  | Mt. | 1885 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 20mm dia Flexible Conduits |  | Mt. | 250 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 25mm dia PVC Insulated Steel Spiral Conduits |  | Mt. | 125 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 32mm dia PVC Insulated Steel Spiral Conduits |  | Mt. | 140 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 40mm dia PVC Insulated Steel Spiral Conduits |  | Mt. | 95 | MAIN BUILDING | BUILDING GENERAL
#REF! | 05.10.OTHER MATERIALS AND SERVICES
TOTAL - USD | [8 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PERCENTAGES - % | [8 empty] | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
[13 empty] | Truck No |  | Man Day
[13 empty] | USD/Truck |  | USD/Man Day
[13 empty] | #DIV/0! |  | #DIV/0!

## BS MECH
BOQ TABLE
PROJ. NAME
PREPARED BY
DATE | 2025-06-13
MATERIALS AND SERVICES | [5 empty] | COST CENTERS |  | DIRECT | [9 empty] | INDIRECT |  | GRAND TOTAL
GROUP | SUB GROUP | ITEMS | EXPLANATIONS Brand, Supply Country, Sub Contractor, etc. | UNIT | QTY | COST CENTER 1 | COST CENTER 2 | MATERIAL UNIT PRICE (USD/UNIT) | MATERIAL ITEM PRICE (USD) | CONSUMABLES UNIT PRICE (USD/UNIT) | CONSUMABLES ITEM PRICE (USD) | TRANSPORT UNIT PRICE (USD/UNIT) | TRANSPORT ITEM PRICE (USD) | LABOUR UNIT PRICE (USD/UNIT) | LABOUR ITEM PRICE (USD) | DIRECT TOTAL UNIT PRICE (USD/UNIT) | DIRECT TOTAL ITEM PRICE (USD) | INDIRECT UNIT PRICE (USD/UNIT) | INDIRECT ITEM PRICE (USD) | UNIT PRICE (USD/UNIT) | ITEM PRICE (USD)
01.RAW WATER SYSTEM
01.RAW WATER SYSTEM | 01.01.DEEP WEEL STATION, PUMP & ACCESORIES
01.RAW WATER SYSTEM | 01.02.RIVER PUMP STATION EQUIPMENT & ACCESORIES
01.RAW WATER SYSTEM | 01.03.PIPING & ACCESORIES (FROM WATER SOURCE TO TANK)
01.RAW WATER SYSTEM | 01.04.WATER STORAGE TANK (METALIC)
01.RAW WATER SYSTEM | 01.05.WATER STORAGE TANK ACCESORIES (METALIC OR CONCRETE)
01.RAW WATER SYSTEM | 01.06.COLLECTOR & ACCESORIES
01.RAW WATER SYSTEM | 01.07.PIPING & ACCESORIES (FEED TO W.TREATMENT)
01.RAW WATER SYSTEM | 01.08.PIPING & ACCESORIES (FEED TO OTHERS)
#REF! | #REF! | BALL VALVES (Threated) PN16 |  |  |  | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 1/2 " Ball Valves |  | EA | 30 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 3/4 " Ball Valves |  | EA | 70 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 1" Ball Valves |  | EA | 20 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 11/4 " Ball Valves |  | EA | 20 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 11/2 " Ball Valves |  | EA | 10 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 2" Ball Valves |  | EA | 20 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 2" - Straıner, Threated |  | EA | 5 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 11/2" - Straıner, Threated |  | EA | 5 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 2" - Check Valve, Threated |  | EA | 8 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | 11/2" - Check Valve, Threated |  | EA | 4 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Ø20 PPRC Pipes, PN20 |  | m | 210 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Ø25 PPRC Pipes, PN20 |  | m | 75 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Ø32 PPRC Pipes, PN20 |  | m | 65 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Ø40 PPRC Pipes, PN20 |  | m | 55 | MAIN BUILDING | BUILDING GENERAL
|  | PIPE INSULATION Rubber Based DN20 - Thickness 13 mm |  | m | 210 | MAIN BUILDING | BUILDING GENERAL
|  | PIPE INSULATION Rubber Based DN25 - Thickness 13 mm |  | m | 75 | MAIN BUILDING | BUILDING GENERAL
|  | PIPE INSULATION Rubber Based DN32 - Thickness 13 mm |  | m | 65 | MAIN BUILDING | BUILDING GENERAL
|  | PIPE INSULATION Rubber Based DN40 - Thickness 19 mm |  | m | 55 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Pipe fittings and hanging apparatus |  | % | 30% | MAIN BUILDING | BUILDING GENERAL
#REF! | 01.09.PUMPS, HYDROPHORS & ACCESORIES (FEED TO W.TREATMENT)
#REF! | 01.10.PUMPS, HYDROPHORS & ACCESORIES (FEED TO OTHERS)
#REF! | 01.11.EMERGENCY SHOWERS & ACCESORIES
#REF! | 01.12.OTHER MATERIALS AND SERVICES
02.SOFT WATER SYSTEM
02.SOFT WATER SYSTEM | 02.01.SOFT WATER UNIT & ACCESORIES
02.SOFT WATER SYSTEM | 02.02.SOFT WATER HYDROPHOR & ACCESORIES
02.SOFT WATER SYSTEM | 02.03.PIPING & ACCESORIES
02.SOFT WATER SYSTEM | 02.04.OTHER MATERIALS AND SERVICES
03.FIRE FIGHTING SYSTEM
03.FIRE FIGHTING SYSTEM | 03.01.PUMP STATION & ACCESORIES
#REF! | #REF! | BUTTERFLY VALVE - DN 150, |  | EA | 8 | OPEN AREA STRUCTURES | FIRE PUMP BLD
#REF! | #REF! | WET ALARM VALVE - DN 150 |  | EA | 4 | OPEN AREA STRUCTURES | FIRE PUMP BLD
#REF! | #REF! | CHECK VALVE - DN 150 |  | EA | 2 | OPEN AREA STRUCTURES | FIRE PUMP BLD
#REF! | #REF! | CHECK VALVE - DN 40 |  | EA | 1 | OPEN AREA STRUCTURES | FIRE PUMP BLD
#REF! | #REF! | Manometer & Manometer Valve and related connection parts Ø100 mm - 16 BAR |  | EA | 4 | OPEN AREA STRUCTURES | FIRE PUMP BLD
#REF! | #REF! | DN25 / PN16 Valve and related connection parts |  | EA | 2 | OPEN AREA STRUCTURES | FIRE PUMP BLD
#REF! | #REF! | DN 150 ( 6'' ) BLACK STEEL PIPE |  | m | 20 | OPEN AREA STRUCTURES | FIRE PUMP BLD
|  | Painting the pipes with an anti-rust paint |  | m | 20 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | Painting the pipes with an anti-oil paint |  | m | 20 | MAIN BUILDING | BUILDING GENERAL
#REF! | #REF! | WELDING WORKS |  | kg | 80 | OPEN AREA STRUCTURES | FIRE PUMP BLD
#REF! | 03.02.PIPES & ACCESORIES (FIRE FIGHTING)
#REF! | 03.03.PIPES & ACCESORIES (SPRINKLERS)
#REF! | #REF! | TEST AND DRAIN VALVE - DN32 |  | group | 1 | MAIN BUILDING | PREFORM WH
|  | HDPE DN 110 / PN16 |  | m | 90 | MAIN BUILDING | EXTERNAL SITE INFRASTR
#REF! | #REF! | DN150 (6") BLACK STEEL PIPE |  | m | 110 | MAIN BUILDING | PREFORM WH
#REF! | #REF! | DN65 (21/2") BLACK STEEL PIPE |  | m | 40 | MAIN BUILDING | PREFORM WH
#REF! | #REF! | DN40 (11/2") BLACK STEEL PIPE |  | m | 70 | MAIN BUILDING | PREFORM WH
#REF! | #REF! | DN32 (11/4") BLACK STEEL PIPE |  | m | 85 | MAIN BUILDING | PREFORM WH
#REF! | #REF! | DN25 (1") BLACK STEEL PIPE |  | m | 105 | MAIN BUILDING | PREFORM WH
#REF! | #REF! | Painting the pipes with an anti-rust paint |  | m | 400 | MAIN BUILDING | PREFORM WH
#REF! | #REF! | Painting the pipes with an anti-oil paint |  | m | 400 | MAIN BUILDING | PREFORM WH
#REF! | #REF! | WELDING WORKS |  | kg | 200 | MAIN BUILDING | PREFORM WH
#REF! | 03.04.SPRINKLERS & ACCESORIES
#REF! | 03.04.SPRINKLERS & ACCESORIES | Welded steel coupling DN15 |  | EA | 88 | MAIN BUILDING | PREFORM WH
#REF! | 03.04.SPRINKLERS & ACCESORIES | Pendent Sprinkler |  | EA | 88 | MAIN BUILDING | PREFORM WH
#REF! | 03.05.FIRE CABINETS & ACCESORIES
#REF! | 03.05.FIRE CABINETS & ACCESORIES | FIRE CABİNETS Fire Cabinets, With Tube (Glass Cover) Hose Diameter - 1", Length = 30m |  | EA | 3 | MAIN BUILDING | BUILDING GENERAL
#REF! | 03.06.ARGON GAS SYSTEM & ACCESORIES
#REF! | 03.07.OTHER MATERIALS AND SERVICES
04.GARDEN IRRIGATION SYSTEM
04.GARDEN IRRIGATION SYSTEM | 04.01.PUMP STATION & ACCESSORIES
#REF! | 04.02.PIPE& ACCESORIES
#REF! | 04.03.OTHER MATERIALS AND SERVICES
05.PIPING FROM PROCESS
05.PIPING FROM PROCESS | 05.01.PIPE & ACCESORIES (TREATED WATER)
05.PIPING FROM PROCESS | 05.02.PIPE & ACCESORIES (SYRUP)
05.PIPING FROM PROCESS | 05.03.PIPE & ACCESORIES (CIP)
05.PIPING FROM PROCESS | 05.04.OTHER MATERIALS AND SERVICES
06.CO2 SYSTEM
06.CO2 SYSTEM | 06.01.CO2 EVAPORATOR (ONLY INSTALLATION)
06.CO2 SYSTEM | 06.02.CO2 FILTERS (ONLY INSTALLATION)
06.CO2 SYSTEM | 06.03.COLLECTOR & ACCESORIES
06.CO2 SYSTEM | 06.04.PIPING, INSULATION & ACCESORIES
06.CO2 SYSTEM | 06.05.OTHER MATERIALS AND SERVICES
07.N2 SYSTEM
07.N2 SYSTEM | 07.01.N2 TANK & ACCESORIES
07.N2 SYSTEM | 07.02.PHASE SEPARATORS & ACCESORIES
07.N2 SYSTEM | 07.03.PIPING, INSULATION & ACCESORIES
07.N2 SYSTEM | 07.04.OTHER MATERIALS AND SERVICES
08. 8 BAR AIR SYSTEM
08. 8 BAR AIR SYSTEM | 08.01.COMPRESSOR & DRIER (ONLY INSTALLATION)
08. 8 BAR AIR SYSTEM | 08.02.COLLECTOR & ACCESORIES
08. 8 BAR AIR SYSTEM | 08.03.PIPING & ACCESORIES
08. 8 BAR AIR SYSTEM | 08.04.OTHER MATERIALS AND SERVICES
09.STERIL AIR SYSTEM
09.STERIL AIR SYSTEM | 09.01.STERIL AIR FILTERS (ONLY INSTALLATION)
09.STERIL AIR SYSTEM | 09.02.PIPING & ACCESORIES
09.STERIL AIR SYSTEM | 09.03.OTHER MATERIALS AND SERVICES
10.40 BAR AIR SYSTEM
10.40 BAR AIR SYSTEM | 10.01.COMPRESSOR & DRIER (ONLY INSTALLATION)
10.40 BAR AIR SYSTEM | 10.02.COLLECTOR & ACCESORIES
10.40 BAR AIR SYSTEM | 10.03.PIPING & ACCESORIES
10.40 BAR AIR SYSTEM | 10.04.OTHER MATERIALS AND SERVICES
11.STEAM SYSTEM
11.STEAM SYSTEM | 11.01.BOILLER UNIT (ONLY INSTALATION)
11.STEAM SYSTEM | 11.02.COLLECTORS & ACCESSORIES (STEAM AND CONDANSATE)
11.STEAM SYSTEM | 11.03.PIPING, INSULATION & ACCESORIES
11.STEAM SYSTEM | 11.04.OTHER MATERIALS AND SERVICES
12.HVAC EQUIPMENT
12.HVAC EQUIPMENT | 12.01.CHILLERS & ACCESORIES
12.HVAC EQUIPMENT | 12.02.AHU, RTU UNITS & ACCESORIES
12.HVAC EQUIPMENT | 12.03.HEAT EXCHANGERS & ACCESORIES (FRESH AIR .EGZOUST AIR)
#REF! | #REF! | CANTEEN ROOF TOP UNIT Heat Pump, %30 Fresh Air Vü=9500 m3/h Ve=9500 m3/h - Qcooling = 60 kWT Qheating = 45 kWT Qheating = 65 KWT Nel=65 KW G4+F7 |  | group | 1 | MAIN BUILDING | OFFICES
|  | CANTEEN HRV UNIT (HRV-04/05) Exhaust fan Air Flow: 4000 m3/h - P:150 Pa Aspirator Air Flow: 4000 m3/h - P:150 Pa Electrical Heater : 26,8 kW Filter : G4 / F7 Heat Recovery (Plate Type Heat recovery) Fresh Air %100 Automatic Control and MCC Panels, Wirings Included |  | group | 1 | MAIN BUILDING | OFFICES
#REF! | 12.04.HEAT EXCHANGERS & ACCESORIES (STEAM .WATER)
#REF! | 12.05.FAN COIL SYSTEMS & ACCESORIES
#REF! | 12.06.HEATING APARATUS & ACCESORIES
|  | HEATERS (Radiator). Operate with Hot Water (80/60 C) Connection to the outlet air must be feasible, selection will be made according to -15 C inlet air temperature. |  |  |  | MAIN BUILDING | FULL GOODS WH
|  | KPP 22 600 |  | EA | 2 | MAIN BUILDING | FULL GOODS WH
|  | KPP 22 1000 |  | EA | 17 | MAIN BUILDING | FULL GOODS WH
|  | KPP 22 1300 |  | EA | 10 | MAIN BUILDING | FULL GOODS WH
#REF! | 12.07.EXHAUST FANS & ACCESORIES (ROOF)
#REF! | 12.08.EXHAUST FANS & ACCESORIES (OTHERS)
#REF! | #REF! | EXHAUST WC (Roof type, axial) Aspirator: 750 m3 /h -400 Pa External Static Pressure BLACK STEEL CIRCULAR DUCT (Insulated, Painted) (Fabricated Rounded) |  | group | 2 | MAIN BUILDING | OFFICES
#REF! | #REF! | EXHAUST (Roof type, axial) Silencer - low speed, included back draft damper, insulaited detail for installation air fan h-600mm Aspirator: 700 m3 /h -350 Pa External Static Pressure |  | group | 1 | MAIN BUILDING | OFFICES
|  | EXHAUST (Roof type, axial) EF34 Silencer - low speed, included back draft damper, insulaited detail for installation air fan h-600mm Aspirator: 1000 m3 /h -350 Pa External Static Pressure |  | group | 1 | MAIN BUILDING | OFFICES
|  | EXHAUST FAN KITCHEN (Roof type, axial) EF3 Silencer - low speed, included back draft damper, insulaited detail for installation air fan h-600mm Aspirator: 8000 m3 /h - 100 Pa |  | EA | 1 | MAIN BUILDING | OFFICES
#REF! | 12.09.FANS AND FILTERS & ACCESORIES (FRESH AIR INFEED)
#REF! | 12.10.AIR CONDITIONERS & ACCESORIES (SPLIT)
#REF! | #REF! | K1 Wall Type Split Air-conditioning, including mounting complect and thermostats Q =1.5kW |  | EA | 1 | MAIN BUILDING | OFFICES
#REF! | #REF! | K2-K3 Wall Type Split Air-conditioning, including mounting complect and thermostats Q =9.6kW |  | EA | 2 | MAIN BUILDING | OFFICES
#REF! | #REF! | K4-K5 Wall Type Split Air-conditioning, including mounting complect and thermostats Q =9.6kW |  | EA | 2 | MAIN BUILDING | OFFICES
#REF! | #REF! | DRAINAGE LINES (Rigid PVC Pipe) |  |  |  | MAIN BUILDING | OFFICES
#REF! | #REF! | Ø25 mm |  | m | 20 | MAIN BUILDING | OFFICES
#REF! | #REF! | Ø32 mm |  | m | 30 | MAIN BUILDING | OFFICES
#REF! | #REF! | Ø40 mm |  | m | 40 | MAIN BUILDING | OFFICES
#REF! | #REF! | Ø50 mm |  | m | 10 | MAIN BUILDING | OFFICES
#REF! | #REF! | COPPER PIPING for SPLIT KLIMA |  |  |  | MAIN BUILDING | OFFICES
#REF! | #REF! | Copper piping, insulation, withdrawal from device to device communication cables, copper piping and testing of nitrogen, |  |  |  | MAIN BUILDING | OFFICES
#REF! | #REF! | 1/4"-5/8" |  | m | 50 | MAIN BUILDING | OFFICES
#REF! | #REF! | 1/4"-1/2" |  | m | 50 | MAIN BUILDING | OFFICES
#REF! | 12.11.AIR CURTAINS & ACCESORIES
#REF! | 12.12.AIR DUCTS & ACCESORIES
#REF! | 12.12.AIR DUCTS & ACCESORIES | GALVANIZED AIR DUCT MANUFACTURING and INSTALLATION (Wide Side = 250 mm) thickness = 0,50 mm |  | m2 | 120 | MAIN BUILDING | OFFICES
#REF! | 12.12.AIR DUCTS & ACCESORIES | GALVANIZED AIR DUCT MANUFACTURING and INSTALLATION (Wide Side = 500 mm) thickness = 0,60 mm |  | m2 | 120 | MAIN BUILDING | OFFICES
#REF! | 12.12.AIR DUCTS & ACCESORIES | GALVANIZED AIR DUCT MANUFACTURING and INSTALLATION (Wide Side = 990 mm) thickness = 0,75 mm |  | m2 | 140 | MAIN BUILDING | OFFICES
#REF! | 12.12.AIR DUCTS & ACCESORIES | GALVANIZED AIR DUCT MANUFACTURING and INSTALLATION (Wide Side = 1.490 mm) thickness = 0,90 mm |  | m2 | 80 | MAIN BUILDING | OFFICES
#REF! | 12.12.AIR DUCTS & ACCESORIES | DUCT INSULATION 13mm Elastomer + ALIMINIUM COATED |  | m2 | 300 | MAIN BUILDING | OFFICES
#REF! | 12.12.AIR DUCTS & ACCESORIES | BALCK STEEL AIR DUCT MANUFACTURING and INSTALLATION 1,00 mm Manufacturing and installation of black sheet sheet metal air duct. 25 mm flange with silicon, with gasket with |  | m2 | 100 | MAIN BUILDING | OFFICES
#REF! | #REF! | AIR SUPPLY DIFFUSOR - 300x200 mm Ceiling Diffusers and Plenium Box, Tipper, including Aluminium flex duct connection |  | Ea | 14 | MAIN BUILDING | OFFICES
#REF! | #REF! | AIR SUPPLY DIFFUSOR - 300/460 mm Ceiling Diffusers and Plenium Box, Tipper, including Aluminium flex duct connection |  | Ea | 12 | MAIN BUILDING | OFFICES
#REF! | #REF! | AIR RETURN DIFFUSOR - 225/385 mm Ceiling Diffusers and Plenium Box, Tipper, including Aluminium flex duct connection |  | Ea | 6 | MAIN BUILDING | OFFICES
#REF! | #REF! | AIR RETURN DIFFUSOR - 300/460 mm Ceiling Diffusers and Plenium Box, Tipper, including Aluminium flex duct connection |  | Ea | 12 | MAIN BUILDING | OFFICES
#REF! | #REF! | RETURN GRILLE - 300x200 mm mm Single Layer Bladed Return Grille |  | Ea | 14 | MAIN BUILDING | OFFICES
#REF! | #REF! | SUPPLEY GRILLE - 1.200x600 mm Double Layer Bladed Supply Grill |  | Ea | 2 | MAIN BUILDING | OFFICES
#REF! | #REF! | DISC VALVE GA-125 |  | Ea | 6 | MAIN BUILDING | OFFICES
#REF! | 12.13.PIPING (HEATING WATER), PUMPS AND ACCESORIES
|  | HEATING PIPES | Black steel welded
|  | Ø40 mm | Black steel welded | m | 120
|  | Ø32 mm | Black steel welded | m | 80
|  | Ø25 mm | Black steel welded | m | 60
|  | Ø20 mm | Black steel welded | m | 175
|  | Ø15 mm | Black steel welded | m | 50
|  | Pipe fittings |  | % | 30%
PIPE INSULATION
|  | Ø40 mm - 13 mm |  | m | 120
|  | Ø32 mm - 13 mm |  | m | 85
|  | Ø25 mm - 13 mm |  | m | 60
|  | Ø20 mm - 13 mm |  | m | 170
|  | Ø15 mm - 13 mm |  | m | 60
|  | STATIC BALANCE VALVE DN 25 mm |  | EA | 2
|  | STATIC BALANCE VALVE DN 32 mm |  | EA | 2
|  | BALL VALVES 1/2" |  | EA | 4
|  | BALL VALVES 3/4" |  | EA | 2
|  | BALL VALVES 1" |  | EA | 2
|  | BALL VALVES 1 1/4" |  | EA | 2
|  | BALL VALVES 1 1/2" |  | EA | 2
|  | THERMOMETER |  | EA | 2
|  | MANOMETER Mini spherical valve Ø100mm. |  | EA | 2
#REF! | 12.14.CO2 EGZOST SYSTEM & ACCESORIES
#REF! | 12.15.OTHER MATERIALS AND SERVICES
13.CHILLED WATER SYSTEM
13.CHILLED WATER SYSTEM | 13.01.CHILLER, ITS EVAPORATIVE CONDENSER & ACCESORIES
13.CHILLED WATER SYSTEM | 13.02.CHILLED WATER TANK & ACCESORIES
13.CHILLED WATER SYSTEM | 13.03.PUMPS & ACCESORIES (CHILLED WATER)
13.CHILLED WATER SYSTEM | 13.04.PIPING, INSULATION & ACCESORIES
13.CHILLED WATER SYSTEM | 13.05.OTHER MATERIALS AND SERVICES
14.COOLING TOWER SYSTEM
14.COOLING TOWER SYSTEM | 14.01.COOLING TOWER & ACCESORIES
14.COOLING TOWER SYSTEM | 14.02.PUMPS & ACCESORIES (COOLING TOWER WATER)
14.COOLING TOWER SYSTEM | 14.03.PIPING, INSULATION & ACCESORIES
14.COOLING TOWER SYSTEM | 14.04.OTHER MATERIALS AND SERVICES
15.COLD ROOM EQUIPMENT
15.COLD ROOM EQUIPMENT | 15.01.CHILLERS & ACCESORIES
15.COLD ROOM EQUIPMENT | 15.02.COOLING APPARATUS AND ACCESORIES
15.COLD ROOM EQUIPMENT | 15.03.OTHER MATERIALS AND SERVICES
16.DIESEL SYSTEM
16.DIESEL SYSTEM | 16.01.FUEL OIL TANK & ACCESORIES (MAIN)
16.DIESEL SYSTEM | 16.02.FUEL OIL TANK & ACCESORIES (DAILY)
16.DIESEL SYSTEM | 16.03.FUEL OIL TANK & ACCESORIES (HEATING)
16.DIESEL SYSTEM | 16.04.PUMPS & ACCESSORIES (FUEL OIL)
16.DIESEL SYSTEM | 16.05.PIPES AND ACCESORIES (FUEL OIL)
16.DIESEL SYSTEM | 16.06.OTHER MATERIALS AND SERVICES
17.NATURAL GAS SYSTEM
17.NATURAL GAS SYSTEM | 17.01.COUNTERS & ACCESSORIES
17.NATURAL GAS SYSTEM | 17.02.PIPING & ACCESSORIES
17.NATURAL GAS SYSTEM | 17.03.OTHER MATERIALS AND SERVICES
18.SEWERAGE SYSTEM
18.SEWERAGE SYSTEM | 18.01.PIPES & ACCESSORIES (TO WASTE WATER SYSTEM)
18.SEWERAGE SYSTEM | 18.01.PIPES & ACCESSORIES (TO WASTE WATER SYSTEM) | Ø110 PİPE1 PVC |  | m | 120 | MAIN BUILDING | FULL GOODS WH
18.SEWERAGE SYSTEM | 18.01.PIPES & ACCESSORIES (TO WASTE WATER SYSTEM) | Ø50 PİPE2 PVC |  | m | 60 | MAIN BUILDING | FULL GOODS WH
18.SEWERAGE SYSTEM | 18.01.PIPES & ACCESSORIES (TO WASTE WATER SYSTEM) | Sewer Cleaning Point |  | EA | 12 | MAIN BUILDING | FULL GOODS WH
#REF! | #REF! | Floor Draıner Ø50 20*20cm |  | EA | 8 | MAIN BUILDING | FULL GOODS WH
#REF! | #REF! | Grease trap |  | EA | 2 | MAIN BUILDING | BUILDING GENERAL
#REF! | 18.02.PIPES & ACCESSORIES (TO RAIN WATER SYSTEM)
#REF! | 18.04.OTHER MATERIALS AND SERVICES
#REF! | 18.04.OTHER MATERIALS AND SERVICES | Sink Disabled with complete siphon |  | set | 1 | MAIN BUILDING | FULL GOODS WH
#REF! | 18.04.OTHER MATERIALS AND SERVICES | Sink Disabled basin mixer |  | set | 1 | MAIN BUILDING | FULL GOODS WH
#REF! | 18.04.OTHER MATERIALS AND SERVICES | Closet Disabled with coplete siphon |  | set | 1 | MAIN BUILDING | FULL GOODS WH
#REF! | 18.04.OTHER MATERIALS AND SERVICES | Disabled Toilet Accessory |  | set | 1 | MAIN BUILDING | FULL GOODS WH
#REF! | 18.04.OTHER MATERIALS AND SERVICES | Sink with complete siphon |  | set | 5 | MAIN BUILDING | FULL GOODS WH
#REF! | 18.04.OTHER MATERIALS AND SERVICES | Sink basin mixer |  | set | 5 | MAIN BUILDING | FULL GOODS WH
#REF! | 18.04.OTHER MATERIALS AND SERVICES | Closet with coplete siphon |  | set | 1 | MAIN BUILDING | FULL GOODS WH
#REF! | 18.04.OTHER MATERIALS AND SERVICES | Toilet Accessory |  | set | 6 | MAIN BUILDING | FULL GOODS WH
#REF! | #REF! | Urinal with flushing faucet and siphon |  | set | 0 | MAIN BUILDING | FULL GOODS WH
#REF! | 18.04.OTHER MATERIALS AND SERVICES | Shower Floor Drain Trap 200x200 Ø50 |  | set | 1 | MAIN BUILDING | FULL GOODS WH
#REF! | 18.04.OTHER MATERIALS AND SERVICES | Shower Faucet mixer |  | set | 1 | MAIN BUILDING | FULL GOODS WH
#REF! | 18.04.OTHER MATERIALS AND SERVICES | Trap 300x300 Ø100 |  | set | 1 | MAIN BUILDING | FULL GOODS WH
#REF! | 18.04.OTHER MATERIALS AND SERVICES | Ablution ablution faucet (mixer) and trap wıth siphon |  | set | 1 | MAIN BUILDING | FULL GOODS WH
19.CAUSTIC SYSTEM
19.CAUSTIC SYSTEM | 19.01.CLEAN COSTIC TANKS & ACCESSORIES
19.CAUSTIC SYSTEM | 19.02.PUMPS & ACCESSORIES (COSTIC)
19.CAUSTIC SYSTEM | 19.03.PIPES & ACCESSORIES
19.CAUSTIC SYSTEM | 19.04.OTHER MATERIALS AND SERVICES | ..
20.STRUCTURES
20.STRUCTURES | 20.01.PLATFORM
20.STRUCTURES | 20.02.OTHER MATERIALS AND SERVICES
21.OTHERS
21.OTHERS | 21.01.CRANE FOR 40 BAR COMPRESSORS
21.OTHERS | 21.02.OTHER MATERIALS AND SERVICES
TOTAL - USD | [8 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
PERCENTAGES - % | [8 empty] | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
[19 empty] | TOTAL -WITH VAT USD |  | 0
HIDE ZERO ROWS
UNHIDE ROWS